Introduction to Robotics and Mechatronics
GROUP 2.5
Benson Chalethu
Pietro Griffa
Ingvar Groza
PostLab 03
Q1
The peak-to-peak amplitude of the generated signal is 2,40V.
Q2
The DC offset is 1,76V.
Q3
The frequency is 2,1 kHz.
Q4
To measure a point (a while loop step) it takes a time of 4,167us (=0,004167ms), which translate to an execution speed of 240 kHz.
Q5
The minimum is 0,560V and the maximum is about 3V. The voltage range is [0,56 3] and the voltage resolution is 2,4V/4096 = 0,5859 mV.

---
Q6
Frequency [Hz]	Peak-to-peak voltage [V]
20	1,2
40	1,2
60	1,2
80	1,2
100	1,2
200	1,2
As we expected by how we built the resistive divider circuit, the ratio of output to input voltage remains constant to 1,2V , not varying with the input frequency.
The delay is calculated with the following equation:
Where we consider the number of samples (120) and the execution time of the while loop (calculated in Q4).

---
Q7
Frequency [Hz]	Peak-to-peak [V]	Phase shift [°]	Phase shift [ms]
20	2,4	20	2,778
40	2,16	34	2,362
60	2	40	1,852
80	1,76	42	1,458
100	1,52	48	1,334
200	0,96	69	1,597
As we expected by how we built the resistive divider circuit, the ratio of output to input voltage remains costant to 1,2V , not varying with the input frequency.

---
Q9
Q8